## Data Import Template
Data Import Template
Table: | Item Price
Notes:
Please do not change the template headings.
First data column must be blank.
If you are uploading new records, leave the "name" (ID) column blank.
If you are uploading new records, "Naming Series" becomes mandatory, if present.
Only mandatory fields are necessary for new records. You can delete non-mandatory columns if you wish.
For updating, you can update only selective columns.
You can only upload upto 5000 records in one go. (may be less in some cases)
DocType: | Item Price
Column Labels: | ID | Item Code | Price List | Rate | UOM | Packing Unit | Minimum Qty | Item Name | Brand | Item Description | Customer | Supplier | Buying | Selling | Currency | Valid From | Lead Time in days | Valid Upto | Note | Reference
Column Name: | name | item_code | price_list | price_list_rate | uom | packing_unit | min_qty | item_name | brand | item_description | customer | supplier | buying | selling | currency | valid_from | lead_time_days | valid_upto | note | reference
Mandatory: | Yes | Yes | Yes | Yes | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No
Type: | Data | Link | Link | Currency | Link | Int | Int | Data | Read Only | Text | Link | Link | Check | Check | Link | Date | Int | Date | Text | Data
Info: |  | Valid Item | Valid Price List |  | Valid UOM | Integer | Integer |  |  |  | Valid Customer | Valid Supplier | 0 or 1 | 0 or 1 | Valid Currency | dd-mm-yyyy | Integer | dd-mm-yyyy
Start entering data below this line
|  | Corner Connector | Standard Buying | 85 | Nos | 1 | 1 | Corner Connector | Fabrication Hardware | Text: Corner Connector; Check: 1; Check: 0; Link: INR; Int: 0
|  | I-Bolt - 12mm | Standard Buying | 27 | Nos | 1 | 1 | I-Bolt - 12mm | Fabrication Hardware | Text: I-Bolt - 12mm; Check: 1; Check: 0; Link: INR; Int: 0
|  | Lock Head (Triangle type) | Standard Buying | 20 | Nos | 1 | 1 | Lock Head (Triangle type) | Fabrication Hardware | Text: Lock Head (Triangle type); Check: 1; Check: 0; Link: INR; Int: 0
|  | Triangle Type Key | Standard Buying | 14 | Nos | 1 | 1 | Triangle Type Key | Fabrication Hardware | Text: Triangle Type Key; Check: 1; Check: 0; Link: INR; Int: 0
|  | Connector Channel - 30 | Standard Buying | 10 | Nos | 1 | 1 | Connector Channel - 30 | Fabrication Hardware | Text: Connector Channel - 30; Check: 1; Check: 0; Link: INR; Int: 0
|  | Connector Channel - 40 | Standard Buying | 10 | Nos | 1 | 1 | Connector Channel - 40 | Fabrication Hardware | Text: Connector Channel - 40; Check: 1; Check: 0; Link: INR; Int: 0
|  | Connector Channel - 20 | Standard Buying | 10 | Nos | 1 | 1 | Connector Channel - 20 | Fabrication Hardware | Text: Connector Channel - 20; Check: 1; Check: 0; Link: INR; Int: 0
|  | Connector Channel - R30 | Standard Buying | 8 | Nos | 1 | 1 | Connector Channel - R30 | Fabrication Hardware | Text: Connector Channel - R30; Check: 1; Check: 0; Link: INR; Int: 0
|  | M5 x 15mm Stud | Standard Buying | 5 | Nos | 1 | 1 | M5 x 15mm Stud | Fabrication Hardware | Text: M5 x 15mm Stud; Check: 1; Check: 0; Link: INR; Int: 0
|  | 12mm x 1" Bolt (M12 Bolt) | Standard Buying | 1 | Nos | 1 | 1 | 12mm x 1" Bolt (M12 Bolt) | Fabrication Hardware | Text: 12mm x 1" Bolt (M12 Bolt); Check: 1; Check: 0; Link: INR; Int: 0
|  | Hinge | Standard Buying | 9 | Nos | 1 | 1 | Hinge | Fabrication Hardware | Text: Hinge; Check: 1; Check: 0; Link: INR; Int: 0
|  | Hinge Pin | Standard Buying | 2.5 | Nos | 1 | 1 | Hinge Pin | Fabrication Hardware | Text: Hinge Pin; Check: 1; Check: 0; Link: INR; Int: 0
|  | Hinge Bush | Standard Buying | 2.5 | Nos | 1 | 1 | Hinge Bush | Fabrication Hardware | Text: Hinge Bush; Check: 1; Check: 0; Link: INR; Int: 0
|  | Circlip for Hinge Pin | Standard Buying | 0.5 | Nos | 1 | 1 | Circlip for Hinge Pin | Fabrication Hardware | Text: Circlip for Hinge Pin; Check: 1; Check: 0; Link: INR; Int: 0
|  | Lock Latch | Standard Buying | 2.5 | Nos | 1 | 1 | Lock Latch | Fabrication Hardware | Text: Lock Latch; Check: 1; Check: 0; Link: INR; Int: 0
|  | Lock Cam | Standard Buying | 2 | Nos | 1 | 1 | Lock Cam | Fabrication Hardware | Text: Lock Cam; Check: 1; Check: 0; Link: INR; Int: 0
|  | Single Bracket | Standard Buying | 3 | Nos | 1 | 1 | Single Bracket | Fabrication Hardware | Text: Single Bracket; Check: 1; Check: 0; Link: INR; Int: 0
|  | Coupling Bracket | Standard Buying | 5 | Nos | 1 | 1 | Coupling Bracket | Fabrication Hardware | Text: Coupling Bracket; Check: 1; Check: 0; Link: INR; Int: 0
|  | Big Nut Plate | Standard Buying | 1.5 | Nos | 1 | 1 | Big Nut Plate | Fabrication Hardware | Text: Big Nut Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | Small Nut Plate | Standard Buying | 1 | Nos | 1 | 1 | Small Nut Plate | Fabrication Hardware | Text: Small Nut Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | Cover Fixing Clamp | Standard Buying | 5.5 | Nos | 1 | 1 | Cover Fixing Clamp | Fabrication Hardware | Text: Cover Fixing Clamp; Check: 1; Check: 0; Link: INR; Int: 0
|  | M6 Screw | Standard Buying | 1 | Nos | 1 | 1 | M6 Screw | Fabrication Hardware | Text: M6 Screw; Check: 1; Check: 0; Link: INR; Int: 0
|  | M6 Screw with Washer | Standard Buying | 1 | Nos | 1 | 1 | M6 Screw with Washer | Fabrication Hardware | Text: M6 Screw with Washer; Check: 1; Check: 0; Link: INR; Int: 0
|  | M6 x 30mm Screw with Washer | Standard Buying | 1.5 | Nos | 1 | 1 | M6 x 30mm Screw with Washer | Fabrication Hardware | Text: M6 x 30mm Screw with Washer; Check: 1; Check: 0; Link: INR; Int: 0
|  | IP Spacer | Standard Buying | 1 | Nos | 1 | 1 | IP Spacer | Fabrication Hardware | Text: IP Spacer; Check: 1; Check: 0; Link: INR; Int: 0
|  | Door Gasket | Standard Buying | 142 | Kg | 1 | 1 | Door Gasket | Fabrication Hardware | Text: Door Gasket; Check: 1; Check: 0; Link: INR; Int: 0
|  | Door Lock | Standard Buying | 20 | Nos | 1 | 1 | Door Lock | Fabrication Hardware | Text: Door Lock; Check: 1; Check: 0; Link: INR; Int: 0
|  | Door Hinge Exposed (Zinc Alloy) | Standard Buying | 9 | Nos | 1 | 1 | Door Hinge Exposed (Zinc Alloy) | Fabrication Hardware | Text: Door Hinge Exposed (Zinc Alloy); Check: 1; Check: 0; Link: INR; Int: 0
|  | Door Knob with Washer 1-1/4" x 3/16" | Standard Buying | 4 | Nos | 1 | 1 | Door Knob with Washer 1-1/4" x 3/16" | Fabrication Hardware | Text: Door Knob with Washer 1-1/4" x 3/16"; Check: 1; Check: 0; Link: INR; Int: 0
|  | 3/16" Washer Big | Standard Buying | 0.1 | Nos | 1 | 1 | 3/16" Washer Big | Fabrication Hardware | Text: 3/16" Washer Big; Check: 1; Check: 0; Link: INR; Int: 0
|  | 3/16" Washer Small | Standard Buying | 0.1 | Nos | 1 | 1 | 3/16" Washer Small | Fabrication Hardware | Text: 3/16" Washer Small; Check: 1; Check: 0; Link: INR; Int: 0
|  | 1/4" Washer | Standard Buying | 0.1 | Nos | 1 | 1 | 1/4" Washer | Fabrication Hardware | Text: 1/4" Washer; Check: 1; Check: 0; Link: INR; Int: 0
|  | 5/16" Washer | Standard Buying | 0.1 | Nos | 1 | 1 | 5/16" Washer | Fabrication Hardware | Text: 5/16" Washer; Check: 1; Check: 0; Link: INR; Int: 0
|  | 3/8" Washer | Standard Buying | 0.1 | Nos | 1 | 1 | 3/8" Washer | Fabrication Hardware | Text: 3/8" Washer; Check: 1; Check: 0; Link: INR; Int: 0
|  | 1/2" Washer | Standard Buying | 0.1 | Nos | 1 | 1 | 1/2" Washer | Fabrication Hardware | Text: 1/2" Washer; Check: 1; Check: 0; Link: INR; Int: 0
|  | 1/4" Spring Washer | Standard Buying | 0.5 | Nos | 1 | 1 | 1/4" Spring Washer | Fabrication Hardware | Text: 1/4" Spring Washer; Check: 1; Check: 0; Link: INR; Int: 0
|  | 5/16" Spring Washer | Standard Buying | 1 | Nos | 1 | 1 | 5/16" Spring Washer | Fabrication Hardware | Text: 5/16" Spring Washer; Check: 1; Check: 0; Link: INR; Int: 0
|  | 3/8" Spring Washer | Standard Buying | 1 | Nos | 1 | 1 | 3/8" Spring Washer | Fabrication Hardware | Text: 3/8" Spring Washer; Check: 1; Check: 0; Link: INR; Int: 0
|  | 1/2" Spring Washer | Standard Buying | 1 | Nos | 1 | 1 | 1/2" Spring Washer | Fabrication Hardware | Text: 1/2" Spring Washer; Check: 1; Check: 0; Link: INR; Int: 0
|  | 3/16" Nut | Standard Buying | 0.1 | Nos | 1 | 1 | 3/16" Nut | Fabrication Hardware | Text: 3/16" Nut; Check: 1; Check: 0; Link: INR; Int: 0
|  | 1/4" Nut | Standard Buying | 0.1 | Nos | 1 | 1 | 1/4" Nut | Fabrication Hardware | Text: 1/4" Nut; Check: 1; Check: 0; Link: INR; Int: 0
|  | 5/16" Nut | Standard Buying | 0.2 | Nos | 1 | 1 | 5/16" Nut | Fabrication Hardware | Text: 5/16" Nut; Check: 1; Check: 0; Link: INR; Int: 0
|  | 3/8" Nut | Standard Buying | 0.5 | Nos | 1 | 1 | 3/8" Nut | Fabrication Hardware | Text: 3/8" Nut; Check: 1; Check: 0; Link: INR; Int: 0
|  | 1/2" Nut | Standard Buying | 1 | Nos | 1 | 1 | 1/2" Nut | Fabrication Hardware | Text: 1/2" Nut; Check: 1; Check: 0; Link: INR; Int: 0
|  | 10mm Nut (M10 Nut) | Standard Buying | 0.5 | Nos | 1 | 1 | 10mm Nut (M10 Nut) | Fabrication Hardware | Text: 10mm Nut (M10 Nut); Check: 1; Check: 0; Link: INR; Int: 0
|  | 10mm x 3/4" Bolt (M10 Bolt) | Standard Buying | 1.5 | Nos | 1 | 1 | 10mm x 3/4" Bolt (M10 Bolt) | Fabrication Hardware | Text: 10mm x 3/4" Bolt (M10 Bolt); Check: 1; Check: 0; Link: INR; Int: 0
|  | 1/4" x 1/4" Bolt (MM Thread) | Standard Buying | 0.5 | Nos | 1 | 1 | 1/4" x 1/4" Bolt (MM Thread) | Fabrication Hardware | Text: 1/4" x 1/4" Bolt (MM Thread); Check: 1; Check: 0; Link: INR; Int: 0
|  | 1/4" x 1/2" Sync Bolt | Standard Buying | 0.5 | Nos | 1 | 1 | 1/4" x 1/2" Sync Bolt | Fabrication Hardware | Text: 1/4" x 1/2" Sync Bolt; Check: 1; Check: 0; Link: INR; Int: 0
|  | 1/4" x 1" Sync Bolt | Standard Buying | 0.5 | Nos | 1 | 1 | 1/4" x 1" Sync Bolt | Fabrication Hardware | Text: 1/4" x 1" Sync Bolt; Check: 1; Check: 0; Link: INR; Int: 0
|  | 1/4" x 1/2" Bolt (MM Thread) | Standard Buying | 1 | Nos | 1 | 1 | 1/4" x 1/2" Bolt (MM Thread) | Fabrication Hardware | Text: 1/4" x 1/2" Bolt (MM Thread); Check: 1; Check: 0; Link: INR; Int: 0
|  | 1/4" x 3/4" Nut Bolt with Washer (MM Thread) | Standard Buying | 1 | Nos | 1 | 1 | 1/4" x 3/4" Nut Bolt with Washer (MM Thread) | Fabrication Hardware | Text: 1/4" x 3/4" Nut Bolt with Washer (MM Thread); Check: 1; Check: 0; Link: INR; Int: 0
|  | 1/4" x 1" Bolt | Standard Buying | 1.5 | Nos | 1 | 1 | 1/4" x 1" Bolt | Fabrication Hardware | Text: 1/4" x 1" Bolt; Check: 1; Check: 0; Link: INR; Int: 0
|  | 1/4" x 1-1/2" Bolt | Standard Buying | 1.5 | Nos | 1 | 1 | 1/4" x 1-1/2" Bolt | Fabrication Hardware | Text: 1/4" x 1-1/2" Bolt; Check: 1; Check: 0; Link: INR; Int: 0
|  | 5/16" x 1/2" Bolt | Standard Buying | 0.5 | Nos | 1 | 1 | 5/16" x 1/2" Bolt | Fabrication Hardware | Text: 5/16" x 1/2" Bolt; Check: 1; Check: 0; Link: INR; Int: 0
|  | 5/16" x 1" Bolt | Standard Buying | 1 | Nos | 1 | 1 | 5/16" x 1" Bolt | Fabrication Hardware | Text: 5/16" x 1" Bolt; Check: 1; Check: 0; Link: INR; Int: 0
|  | 5/16" x 1-1/2" Bolt | Standard Buying | 1 | Nos | 1 | 1 | 5/16" x 1-1/2" Bolt | Fabrication Hardware | Text: 5/16" x 1-1/2" Bolt; Check: 1; Check: 0; Link: INR; Int: 0
|  | 3/8" x 1" Bolt | Standard Buying | 1.5 | Nos | 1 | 1 | 3/8" x 1" Bolt | Fabrication Hardware | Text: 3/8" x 1" Bolt; Check: 1; Check: 0; Link: INR; Int: 0
|  | 3/8" x 1-1/4" Bolt | Standard Buying | 2 | Nos | 1 | 1 | 3/8" x 1-1/4" Bolt | Fabrication Hardware | Text: 3/8" x 1-1/4" Bolt; Check: 1; Check: 0; Link: INR; Int: 0
|  | 3/8" x 1-1/2" Bolt | Standard Buying | 2 | Nos | 1 | 1 | 3/8" x 1-1/2" Bolt | Fabrication Hardware | Text: 3/8" x 1-1/2" Bolt; Check: 1; Check: 0; Link: INR; Int: 0
|  | 3/8" x 2" Bolt | Standard Buying | 2.5 | Nos | 1 | 1 | 3/8" x 2" Bolt | Fabrication Hardware | Text: 3/8" x 2" Bolt; Check: 1; Check: 0; Link: INR; Int: 0
|  | 1/2" x 1-1/2" Bolt | Standard Buying | 2 | Nos | 1 | 1 | 1/2" x 1-1/2" Bolt | Fabrication Hardware | Text: 1/2" x 1-1/2" Bolt; Check: 1; Check: 0; Link: INR; Int: 0
|  | 1/2" x 2" Bolt | Standard Buying | 3 | Nos | 1 | 1 | 1/2" x 2" Bolt | Fabrication Hardware | Text: 1/2" x 2" Bolt; Check: 1; Check: 0; Link: INR; Int: 0
|  | 1 /4" Sealing Bolt | Standard Buying | 1 | Nos | 1 | 1 | 1 /4" Sealing Bolt | Fabrication Hardware | Text: 1 /4" Sealing Bolt; Check: 1; Check: 0; Link: INR; Int: 0
|  | 3/16" x 1/4" Cycle Screw | Standard Buying | 0.25 | Nos | 1 | 1 | 3/16" x 1/4" Cycle Screw | Fabrication Hardware | Text: 3/16" x 1/4" Cycle Screw; Check: 1; Check: 0; Link: INR; Int: 0
|  | 3/16" x 1/2" Cycle Screw | Standard Buying | 0.25 | Nos | 1 | 1 | 3/16" x 1/2" Cycle Screw | Fabrication Hardware | Text: 3/16" x 1/2" Cycle Screw; Check: 1; Check: 0; Link: INR; Int: 0
|  | 3/16" x 1" Cycle Screw | Standard Buying | 0.5 | Nos | 1 | 1 | 3/16" x 1" Cycle Screw | Fabrication Hardware | Text: 3/16" x 1" Cycle Screw; Check: 1; Check: 0; Link: INR; Int: 0
|  | 3/16" x 2" Cycle Screw | Standard Buying | 1 | Nos | 1 | 1 | 3/16" x 2" Cycle Screw | Fabrication Hardware | Text: 3/16" x 2" Cycle Screw; Check: 1; Check: 0; Link: INR; Int: 0
|  | 3/16" x 2-1/2" Cycle Screw | Standard Buying | 1.5 | Nos | 1 | 1 | 3/16" x 2-1/2" Cycle Screw | Fabrication Hardware | Text: 3/16" x 2-1/2" Cycle Screw; Check: 1; Check: 0; Link: INR; Int: 0
|  | M6x10 Bolt | Standard Buying | 2 | Nos | 1 | 1 | M6x10 Bolt | Fabrication Hardware | Text: M6x10 Bolt; Check: 1; Check: 0; Link: INR; Int: 0
|  | M6x20 Bolt | Standard Buying | 2 | Nos | 1 | 1 | M6x20 Bolt | Fabrication Hardware | Text: M6x20 Bolt; Check: 1; Check: 0; Link: INR; Int: 0
|  | M6 Nut | Standard Buying | 1.5 | Nos | 1 | 1 | M6 Nut | Fabrication Hardware | Text: M6 Nut; Check: 1; Check: 0; Link: INR; Int: 0
|  | 2.5 sqmm Fork Type Copper Socket | Standard Buying | 1 | Nos | 1 | 1 | 2.5 sqmm Fork Type Copper Socket | Fabrication Hardware | Text: 2.5 sqmm Fork Type Copper Socket; Check: 1; Check: 0; Link: INR; Int: 0
|  | 2.5 sqmm Ring Type Copper Socket | Standard Buying | 1.5 | Nos | 1 | 1 | 2.5 sqmm Ring Type Copper Socket | Fabrication Hardware | Text: 2.5 sqmm Ring Type Copper Socket; Check: 1; Check: 0; Link: INR; Int: 0
|  | 2.5 sqmm Pin Type Copper Socket | Standard Buying | 1 | Nos | 1 | 1 | 2.5 sqmm Pin Type Copper Socket | Fabrication Hardware | Text: 2.5 sqmm Pin Type Copper Socket; Check: 1; Check: 0; Link: INR; Int: 0
|  | 4 sqmm Pin Type Copper Socket | Standard Buying | 2 | Nos | 1 | 1 | 4 sqmm Pin Type Copper Socket | Fabrication Hardware | Text: 4 sqmm Pin Type Copper Socket; Check: 1; Check: 0; Link: INR; Int: 0
|  | 4 sqmm Pam Type Copper Socket | Standard Buying | 4 | Nos | 1 | 1 | 4 sqmm Pam Type Copper Socket | Fabrication Hardware | Text: 4 sqmm Pam Type Copper Socket; Check: 1; Check: 0; Link: INR; Int: 0
|  | 6 sqmm Pam Type Copper Socket | Standard Buying | 4.5 | Nos | 1 | 1 | 6 sqmm Pam Type Copper Socket | Fabrication Hardware | Text: 6 sqmm Pam Type Copper Socket; Check: 1; Check: 0; Link: INR; Int: 0
|  | 6 sqmm Pin Type Copper Socket | Standard Buying | 4.5 | Nos | 1 | 1 | 6 sqmm Pin Type Copper Socket | Fabrication Hardware | Text: 6 sqmm Pin Type Copper Socket; Check: 1; Check: 0; Link: INR; Int: 0
|  | 10 sqmm Pam Type Copper Socket | Standard Buying | 6 | Nos | 1 | 1 | 10 sqmm Pam Type Copper Socket | Fabrication Hardware | Text: 10 sqmm Pam Type Copper Socket; Check: 1; Check: 0; Link: INR; Int: 0
|  | 10 sqmm Pin Type Copper Socket | Standard Buying | 4.5 | Nos | 1 | 1 | 10 sqmm Pin Type Copper Socket | Fabrication Hardware | Text: 10 sqmm Pin Type Copper Socket; Check: 1; Check: 0; Link: INR; Int: 0
|  | 16 sqmm Pam Type Copper Socket | Standard Buying | 6.5 | Nos | 1 | 1 | 16 sqmm Pam Type Copper Socket | Fabrication Hardware | Text: 16 sqmm Pam Type Copper Socket; Check: 1; Check: 0; Link: INR; Int: 0
|  | 16 sqmm Pin Type Copper Socket | Standard Buying | 6 | Nos | 1 | 1 | 16 sqmm Pin Type Copper Socket | Fabrication Hardware | Text: 16 sqmm Pin Type Copper Socket; Check: 1; Check: 0; Link: INR; Int: 0
|  | 25 sqmm Pam Type Copper Socket | Standard Buying | 13 | Nos | 1 | 1 | 25 sqmm Pam Type Copper Socket | Fabrication Hardware | Text: 25 sqmm Pam Type Copper Socket; Check: 1; Check: 0; Link: INR; Int: 0
|  | 50 sqmm Pam Type Copper Socket | Standard Buying | 17 | Nos | 1 | 1 | 50 sqmm Pam Type Copper Socket | Fabrication Hardware | Text: 50 sqmm Pam Type Copper Socket; Check: 1; Check: 0; Link: INR; Int: 0
|  | 15mm Form Beeding | Standard Buying | 5 | Meter | 1 | 1 | 15mm Form Beeding | Fabrication Hardware | Text: 15mm Form Beeding; Check: 1; Check: 0; Link: INR; Int: 0
|  | 25mm Form Beeding | Standard Buying | 7 | Meter | 1 | 1 | 25mm Form Beeding | Fabrication Hardware | Text: 25mm Form Beeding; Check: 1; Check: 0; Link: INR; Int: 0
|  | 103mm Sleeve Red | Standard Buying | 16 | Meter | 1 | 1 | 103mm Sleeve Red | Fabrication Hardware | Text: 103mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 103mm Sleeve Yellow | Standard Buying | 16 | Meter | 1 | 1 | 103mm Sleeve Yellow | Fabrication Hardware | Text: 103mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 103mm Sleeve Blue | Standard Buying | 16 | Meter | 1 | 1 | 103mm Sleeve Blue | Fabrication Hardware | Text: 103mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 93mm Sleeve Red | Standard Buying | 14 | Meter | 1 | 1 | 93mm Sleeve Red | Fabrication Hardware | Text: 93mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 93mm Sleeve Yellow | Standard Buying | 14 | Meter | 1 | 1 | 93mm Sleeve Yellow | Fabrication Hardware | Text: 93mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 93mm Sleeve Blue | Standard Buying | 14 | Meter | 1 | 1 | 93mm Sleeve Blue | Fabrication Hardware | Text: 93mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 93mm Sleeve Black | Standard Buying | 14 | Meter | 1 | 1 | 93mm Sleeve Black | Fabrication Hardware | Text: 93mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 73mm Sleeve Red | Standard Buying | 11 | Meter | 1 | 1 | 73mm Sleeve Red | Fabrication Hardware | Text: 73mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 73mm Sleeve Yellow | Standard Buying | 11 | Meter | 1 | 1 | 73mm Sleeve Yellow | Fabrication Hardware | Text: 73mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 73mm Sleeve Blue | Standard Buying | 11 | Meter | 1 | 1 | 73mm Sleeve Blue | Fabrication Hardware | Text: 73mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 73mm Sleeve Black | Standard Buying | 11 | Meter | 1 | 1 | 73mm Sleeve Black | Fabrication Hardware | Text: 73mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 55mm Sleeve Red | Standard Buying | 8 | Meter | 1 | 1 | 55mm Sleeve Red | Fabrication Hardware | Text: 55mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 55mm Sleeve Yellow | Standard Buying | 8 | Meter | 1 | 1 | 55mm Sleeve Yellow | Fabrication Hardware | Text: 55mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 55mm Sleeve Blue | Standard Buying | 8 | Meter | 1 | 1 | 55mm Sleeve Blue | Fabrication Hardware | Text: 55mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 55mm Sleeve Black | Standard Buying | 8 | Meter | 1 | 1 | 55mm Sleeve Black | Fabrication Hardware | Text: 55mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 48mm Sleeve Red | Standard Buying | 8 | Meter | 1 | 1 | 48mm Sleeve Red | Fabrication Hardware | Text: 48mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 48mm Sleeve Yellow | Standard Buying | 8 | Meter | 1 | 1 | 48mm Sleeve Yellow | Fabrication Hardware | Text: 48mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 48mm Sleeve Blue | Standard Buying | 8 | Meter | 1 | 1 | 48mm Sleeve Blue | Fabrication Hardware | Text: 48mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 48mm Sleeve Black | Standard Buying | 8 | Meter | 1 | 1 | 48mm Sleeve Black | Fabrication Hardware | Text: 48mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 41mm Sleeve Red | Standard Buying | 5 | Meter | 1 | 1 | 41mm Sleeve Red | Fabrication Hardware | Text: 41mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 41mm Sleeve Yellow | Standard Buying | 5 | Meter | 1 | 1 | 41mm Sleeve Yellow | Fabrication Hardware | Text: 41mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 41mm Sleeve Blue | Standard Buying | 5 | Meter | 1 | 1 | 41mm Sleeve Blue | Fabrication Hardware | Text: 41mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 41mm Sleeve Black | Standard Buying | 5 | Meter | 1 | 1 | 41mm Sleeve Black | Fabrication Hardware | Text: 41mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 4mm Sleeve Red | Standard Buying | 1.5 | Meter | 1 | 1 | 4mm Sleeve Red | Fabrication Hardware | Text: 4mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 4mm Sleeve Yellow | Standard Buying | 1.5 | Meter | 1 | 1 | 4mm Sleeve Yellow | Fabrication Hardware | Text: 4mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 4mm Sleeve Blue | Standard Buying | 1.5 | Meter | 1 | 1 | 4mm Sleeve Blue | Fabrication Hardware | Text: 4mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 4mm Sleeve Black | Standard Buying | 1.5 | Meter | 1 | 1 | 4mm Sleeve Black | Fabrication Hardware | Text: 4mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 6mm Sleeve Red | Standard Buying | 1.5 | Meter | 1 | 1 | 6mm Sleeve Red | Fabrication Hardware | Text: 6mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 6mm Sleeve Yellow | Standard Buying | 1.5 | Meter | 1 | 1 | 6mm Sleeve Yellow | Fabrication Hardware | Text: 6mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 6mm Sleeve Blue | Standard Buying | 1.5 | Meter | 1 | 1 | 6mm Sleeve Blue | Fabrication Hardware | Text: 6mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 6mm Sleeve Black | Standard Buying | 1.5 | Meter | 1 | 1 | 6mm Sleeve Black | Fabrication Hardware | Text: 6mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 10mm Sleeve Red | Standard Buying | 2.5 | Meter | 1 | 1 | 10mm Sleeve Red | Fabrication Hardware | Text: 10mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 10mm Sleeve Yellow | Standard Buying | 2.5 | Meter | 1 | 1 | 10mm Sleeve Yellow | Fabrication Hardware | Text: 10mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 10mm Sleeve Blue | Standard Buying | 2.5 | Meter | 1 | 1 | 10mm Sleeve Blue | Fabrication Hardware | Text: 10mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 10mm Sleeve Black | Standard Buying | 2.5 | Meter | 1 | 1 | 10mm Sleeve Black | Fabrication Hardware | Text: 10mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | Cable Chamber Indication Plate (Big) | Standard Buying | 20 | Nos | 1 | 1 | Cable Chamber Indication Plate (Big) | Fabrication Hardware | Text: Cable Chamber Indication Plate (Big); Check: 1; Check: 0; Link: INR; Int: 0
|  | Cable chamber Indication Plate (Small) | Standard Buying | 6.5 | Nos | 1 | 1 | Cable chamber Indication Plate (Small) | Fabrication Hardware | Text: Cable chamber Indication Plate (Small); Check: 1; Check: 0; Link: INR; Int: 0
|  | Bus bar Chamber Indication Plate (Small) | Standard Buying | 6.5 | Nos | 1 | 1 | Bus bar Chamber Indication Plate (Small) | Fabrication Hardware | Text: Bus bar Chamber Indication Plate (Small); Check: 1; Check: 0; Link: INR; Int: 0
|  | Bus bar Chamber Indication Plate (Big) | Standard Buying | 20 | Nos | 1 | 1 | Bus bar Chamber Indication Plate (Big) | Fabrication Hardware | Text: Bus bar Chamber Indication Plate (Big); Check: 1; Check: 0; Link: INR; Int: 0
|  | EB Incomer Indication Plate (Big) | Standard Buying | 20 | Nos | 1 | 1 | EB Incomer Indication Plate (Big) | Fabrication Hardware | Text: EB Incomer Indication Plate (Big); Check: 1; Check: 0; Link: INR; Int: 0
|  | Earth Indication Indication Plate (Big) | Standard Buying | 20 | Nos | 1 | 1 | Earth Indication Indication Plate (Big) | Fabrication Hardware | Text: Earth Indication Indication Plate (Big); Check: 1; Check: 0; Link: INR; Int: 0
|  | Earth Indication Indication Plate (Small) | Standard Buying | 6.5 | Nos | 1 | 1 | Earth Indication Indication Plate (Small) | Fabrication Hardware | Text: Earth Indication Indication Plate (Small); Check: 1; Check: 0; Link: INR; Int: 0
|  | Danger Indication Plate (Big) | Standard Buying | 20 | Nos | 1 | 1 | Danger Indication Plate (Big) | Fabrication Hardware | Text: Danger Indication Plate (Big); Check: 1; Check: 0; Link: INR; Int: 0
|  | Danger Indication Plate (Small) | Standard Buying | 6 | Nos | 1 | 1 | Danger Indication Plate (Small) | Fabrication Hardware | Text: Danger Indication Plate (Small); Check: 1; Check: 0; Link: INR; Int: 0
|  | Open Close Indication Plate | Standard Buying | 6 | Nos | 1 | 1 | Open Close Indication Plate | Fabrication Hardware | Text: Open Close Indication Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | Indication Lamp Plate - Red | Standard Buying | 6 | Nos | 1 | 1 | Indication Lamp Plate - Red | Fabrication Hardware | Text: Indication Lamp Plate - Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | Indication Lamp Plate -Yellow | Standard Buying | 6 | Nos | 1 | 1 | Indication Lamp Plate -Yellow | Fabrication Hardware | Text: Indication Lamp Plate -Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | Indication Lamp Plate -Blue | Standard Buying | 6 | Nos | 1 | 1 | Indication Lamp Plate -Blue | Fabrication Hardware | Text: Indication Lamp Plate -Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | Indication Lamp Plate - On | Standard Buying | 6 | Nos | 1 | 1 | Indication Lamp Plate - On | Fabrication Hardware | Text: Indication Lamp Plate - On; Check: 1; Check: 0; Link: INR; Int: 0
|  | Indication Lamp Plate -Off | Standard Buying | 6 | Nos | 1 | 1 | Indication Lamp Plate -Off | Fabrication Hardware | Text: Indication Lamp Plate -Off; Check: 1; Check: 0; Link: INR; Int: 0
|  | Indication Lamp Plate -Trip | Standard Buying | 6 | Nos | 1 | 1 | Indication Lamp Plate -Trip | Fabrication Hardware | Text: Indication Lamp Plate -Trip; Check: 1; Check: 0; Link: INR; Int: 0
|  | Danger Sticker | Standard Buying | 9 | Nos | 1 | 1 | Danger Sticker | Fabrication Hardware | Text: Danger Sticker; Check: 1; Check: 0; Link: INR; Int: 0
|  | Main Switch Sticker | Standard Buying | 9 | Nos | 1 | 1 | Main Switch Sticker | Fabrication Hardware | Text: Main Switch Sticker; Check: 1; Check: 0; Link: INR; Int: 0
|  | VFD Fault Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | VFD Fault Legend Plate | Fabrication Hardware | Text: VFD Fault Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | Trip Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | Trip Legend Plate | Fabrication Hardware | Text: Trip Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | Forward Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | Forward Legend Plate | Fabrication Hardware | Text: Forward Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | VFD Ready Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | VFD Ready Legend Plate | Fabrication Hardware | Text: VFD Ready Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | VFD Off Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | VFD Off Legend Plate | Fabrication Hardware | Text: VFD Off Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | VFD Run Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | VFD Run Legend Plate | Fabrication Hardware | Text: VFD Run Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | EB Contactor On Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | EB Contactor On Legend Plate | Fabrication Hardware | Text: EB Contactor On Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | DG Incoming Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | DG Incoming Legend Plate | Fabrication Hardware | Text: DG Incoming Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | EB Incoming Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | EB Incoming Legend Plate | Fabrication Hardware | Text: EB Incoming Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | Bus Coupler Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | Bus Coupler Legend Plate | Fabrication Hardware | Text: Bus Coupler Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | Off Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | Off Legend Plate | Fabrication Hardware | Text: Off Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | VFD On Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | VFD On Legend Plate | Fabrication Hardware | Text: VFD On Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | Set On Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | Set On Legend Plate | Fabrication Hardware | Text: Set On Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | Close/Trip Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | Close/Trip Legend Plate | Fabrication Hardware | Text: Close/Trip Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | Ammeter Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | Ammeter Legend Plate | Fabrication Hardware | Text: Ammeter Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | Voltmeter Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | Voltmeter Legend Plate | Fabrication Hardware | Text: Voltmeter Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | MFM Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | MFM Legend Plate | Fabrication Hardware | Text: MFM Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | KWH Meter Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | KWH Meter Legend Plate | Fabrication Hardware | Text: KWH Meter Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | ASS Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | ASS Legend Plate | Fabrication Hardware | Text: ASS Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | VSS Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | VSS Legend Plate | Fabrication Hardware | Text: VSS Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | Hooter Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | Hooter Legend Plate | Fabrication Hardware | Text: Hooter Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | EFR Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | EFR Legend Plate | Fabrication Hardware | Text: EFR Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | Reset Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | Reset Legend Plate | Fabrication Hardware | Text: Reset Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | Frequency Meter Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | Frequency Meter Legend Plate | Fabrication Hardware | Text: Frequency Meter Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | On Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | On Legend Plate | Fabrication Hardware | Text: On Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | Auto/Manual Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | Auto/Manual Legend Plate | Fabrication Hardware | Text: Auto/Manual Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | APFC Relay Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | APFC Relay Legend Plate | Fabrication Hardware | Text: APFC Relay Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | AMF Relay Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | AMF Relay Legend Plate | Fabrication Hardware | Text: AMF Relay Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | Main Contactor Off Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | Main Contactor Off Legend Plate | Fabrication Hardware | Text: Main Contactor Off Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | Load On Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | Load On Legend Plate | Fabrication Hardware | Text: Load On Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | DC On/Off Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | DC On/Off Legend Plate | Fabrication Hardware | Text: DC On/Off Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | EB On Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | EB On Legend Plate | Fabrication Hardware | Text: EB On Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | EB Contactor Off Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | EB Contactor Off Legend Plate | Fabrication Hardware | Text: EB Contactor Off Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | DG Contactor On Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | DG Contactor On Legend Plate | Fabrication Hardware | Text: DG Contactor On Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | Emergency Stop Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | Emergency Stop Legend Plate | Fabrication Hardware | Text: Emergency Stop Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | DG Contactor Off Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | DG Contactor Off Legend Plate | Fabrication Hardware | Text: DG Contactor Off Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | DG On Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | DG On Legend Plate | Fabrication Hardware | Text: DG On Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | Main Contactor On Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | Main Contactor On Legend Plate | Fabrication Hardware | Text: Main Contactor On Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | Generator Incoming Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | Generator Incoming Legend Plate | Fabrication Hardware | Text: Generator Incoming Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | 20A Fuse Career | Standard Buying | 112 | Nos | 1 | 1 | 20A Fuse Career | Fabrication Hardware | Text: 20A Fuse Career; Check: 1; Check: 0; Link: INR; Int: 0
|  | 2A HRC Fuse Link | Standard Buying | 73 | Nos | 1 | 1 | 2A HRC Fuse Link | Fabrication Hardware | Text: 2A HRC Fuse Link; Check: 1; Check: 0; Link: INR; Int: 0
|  | K2X14/100 X 100 HDS SMC Finger Type Busbar Support | Standard Buying | 132 | Nos | 1 | 1 | K2X14/100 X 100 HDS SMC Finger Type Busbar Support | Fabrication Hardware | Text: K2X14/100 X 100 HDS SMC Finger Type Busbar Support; Check: 1; Check: 0; Link: INR; Int: 0
|  | K1X14/100 X 80 HDS SMC Finger Type Busbar Support | Standard Buying | 108 | Nos | 1 | 1 | K1X14/100 X 80 HDS SMC Finger Type Busbar Support | Fabrication Hardware | Text: K1X14/100 X 80 HDS SMC Finger Type Busbar Support; Check: 1; Check: 0; Link: INR; Int: 0
|  | K1X11/100 X 80 HDS SMC Finger Type Busbar Support | Standard Buying | 108 | Nos | 1 | 1 | K1X11/100 X 80 HDS SMC Finger Type Busbar Support | Fabrication Hardware | Text: K1X11/100 X 80 HDS SMC Finger Type Busbar Support; Check: 1; Check: 0; Link: INR; Int: 0
|  | TPN-1 x 11/400 F Type Bus Bar Support (SMC) | Standard Buying | 212 | Nos | 1 | 1 | TPN-1 x 11/400 F Type Bus Bar Support (SMC) | Fabrication Hardware | Text: TPN-1 x 11/400 F Type Bus Bar Support (SMC); Check: 1; Check: 0; Link: INR; Int: 0
|  | EFL-60x50 Type Busbar Support (SMC) | Standard Buying | 28 | Nos | 1 | 1 | EFL-60x50 Type Busbar Support (SMC) | Fabrication Hardware | Text: EFL-60x50 Type Busbar Support (SMC); Check: 1; Check: 0; Link: INR; Int: 0
|  | EFL-85x50 Type Busbar Support (SMC) | Standard Buying | 36 | Nos | 1 | 1 | EFL-85x50 Type Busbar Support (SMC) | Fabrication Hardware | Text: EFL-85x50 Type Busbar Support (SMC); Check: 1; Check: 0; Link: INR; Int: 0
|  | EFL-100x50 Type Busbar Support (SMC) | Standard Buying | 44 | Nos | 1 | 1 | EFL-100x50 Type Busbar Support (SMC) | Fabrication Hardware | Text: EFL-100x50 Type Busbar Support (SMC); Check: 1; Check: 0; Link: INR; Int: 0
|  | EFL-125x50 Type Busbar Support (SMC) | Standard Buying | 50 | Nos | 1 | 1 | EFL-125x50 Type Busbar Support (SMC) | Fabrication Hardware | Text: EFL-125x50 Type Busbar Support (SMC); Check: 1; Check: 0; Link: INR; Int: 0
|  | 30 x M 6 Conical Busbar Support | Standard Buying | 17 | Nos | 1 | 1 | 30 x M 6 Conical Busbar Support | Fabrication Hardware | Text: 30 x M 6 Conical Busbar Support; Check: 1; Check: 0; Link: INR; Int: 0
|  | 40 x M 8 Conical Busbar Support | Standard Buying | 30 | Nos | 1 | 1 | 40 x M 8 Conical Busbar Support | Fabrication Hardware | Text: 40 x M 8 Conical Busbar Support; Check: 1; Check: 0; Link: INR; Int: 0
|  | 50 x M 10 Conical Busbar Support | Standard Buying | 48 | Nos | 1 | 1 | 50 x M 10 Conical Busbar Support | Fabrication Hardware | Text: 50 x M 10 Conical Busbar Support; Check: 1; Check: 0; Link: INR; Int: 0
|  | Connector 4 sqmm | Standard Buying | 8 | Nos | 1 | 1 | Connector 4 sqmm | Fabrication Hardware | Text: Connector 4 sqmm; Check: 1; Check: 0; Link: INR; Int: 0
|  | 25mm Cable Mount | Standard Buying | 1.5 | Nos | 1 | 1 | 25mm Cable Mount | Fabrication Hardware | Text: 25mm Cable Mount; Check: 1; Check: 0; Link: INR; Int: 0
|  | 32A Bakelite NL | Standard Buying | 32 | Nos | 1 | 1 | 32A Bakelite NL | Fabrication Hardware | Text: 32A Bakelite NL; Check: 1; Check: 0; Link: INR; Int: 0
|  | 63A Bakelite NL | Standard Buying | 86 | Nos | 1 | 1 | 63A Bakelite NL | Fabrication Hardware | Text: 63A Bakelite NL; Check: 1; Check: 0; Link: INR; Int: 0
|  | Nylon Cable Tie 100mm | Standard Buying | 1 | Nos | 1 | 1 | Nylon Cable Tie 100mm | Fabrication Hardware | Text: Nylon Cable Tie 100mm; Check: 1; Check: 0; Link: INR; Int: 0
|  | Insulation Tape Red | Standard Buying | 15 | Nos | 1 | 1 | Insulation Tape Red | Fabrication Hardware | Text: Insulation Tape Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | Insulation Tape Yellow | Standard Buying | 15 | Nos | 1 | 1 | Insulation Tape Yellow | Fabrication Hardware | Text: Insulation Tape Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | Insulation Tape Blue | Standard Buying | 15 | Nos | 1 | 1 | Insulation Tape Blue | Fabrication Hardware | Text: Insulation Tape Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | Insulation Tape Black | Standard Buying | 15 | Nos | 1 | 1 | Insulation Tape Black | Fabrication Hardware | Text: Insulation Tape Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 25mm Cromet | Standard Buying | 1.5 | Nos | 1 | 1 | 25mm Cromet | Fabrication Hardware | Text: 25mm Cromet; Check: 1; Check: 0; Link: INR; Int: 0
|  | Single Phase E/M Glass | Standard Buying | 15 | Nos | 1 | 1 | Single Phase E/M Glass | Fabrication Hardware | Text: Single Phase E/M Glass; Check: 1; Check: 0; Link: INR; Int: 0
|  | Three Phase E/M Glass | Standard Buying | 32 | Nos | 1 | 1 | Three Phase E/M Glass | Fabrication Hardware | Text: Three Phase E/M Glass; Check: 1; Check: 0; Link: INR; Int: 0
|  | MCB Rail | Standard Buying | 40 | Nos | 1 | 1 | MCB Rail | Fabrication Hardware | Text: MCB Rail; Check: 1; Check: 0; Link: INR; Int: 0
|  | MCB Side Stopper | Standard Buying | 5 | Nos | 1 | 1 | MCB Side Stopper | Fabrication Hardware | Text: MCB Side Stopper; Check: 1; Check: 0; Link: INR; Int: 0
|  | 25mm x 25mm PVC Tray | Standard Buying | 47 | Nos | 1 | 1 | 25mm x 25mm PVC Tray | Fabrication Hardware | Text: 25mm x 25mm PVC Tray; Check: 1; Check: 0; Link: INR; Int: 0
|  | 10mm Spiral | Standard Buying | 6 | Meter | 1 | 1 | 10mm Spiral | Fabrication Hardware | Text: 10mm Spiral; Check: 1; Check: 0; Link: INR; Int: 0
|  | 20mm Spiral | Standard Buying | 10 | Meter | 1 | 1 | 20mm Spiral | Fabrication Hardware | Text: 20mm Spiral; Check: 1; Check: 0; Link: INR; Int: 0
|  | Beeding Adhessive Dendrite | Standard Buying | 70 | Nos | 1 | 1 | Beeding Adhessive Dendrite | Fabrication Hardware | Text: Beeding Adhessive Dendrite; Check: 1; Check: 0; Link: INR; Int: 0
|  | 4" Cutting Wheel | Standard Buying | 20 | Nos | 1 | 1 | 4" Cutting Wheel | Fabrication Hardware | Text: 4" Cutting Wheel; Check: 1; Check: 0; Link: INR; Int: 0
|  | 14" Cutting Wheel | Standard Buying | 180 | Nos | 1 | 1 | 14" Cutting Wheel | Fabrication Hardware | Text: 14" Cutting Wheel; Check: 1; Check: 0; Link: INR; Int: 0
|  | 6mm Spiral | Standard Buying | 3 | Meter | 1 | 1 | 6mm Spiral | Fabrication Hardware | Text: 6mm Spiral; Check: 1; Check: 0; Link: INR; Int: 0
|  | 25mm x 6mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 25mm x 6mm AL Busbar | Fabrication Hardware | Text: 25mm x 6mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 25mm x 10mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 25mm x 10mm AL Busbar | Fabrication Hardware | Text: 25mm x 10mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 32mm x 6mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 32mm x 6mm AL Busbar | Fabrication Hardware | Text: 32mm x 6mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 32mm x 10mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 32mm x 10mm AL Busbar | Fabrication Hardware | Text: 32mm x 10mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 38mm x 6mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 38mm x 6mm AL Busbar | Fabrication Hardware | Text: 38mm x 6mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 38mm x 10mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 38mm x 10mm AL Busbar | Fabrication Hardware | Text: 38mm x 10mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 38mm x 12mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 38mm x 12mm AL Busbar | Fabrication Hardware | Text: 38mm x 12mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 50mm x 6mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 50mm x 6mm AL Busbar | Fabrication Hardware | Text: 50mm x 6mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 50mm x 10mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 50mm x 10mm AL Busbar | Fabrication Hardware | Text: 50mm x 10mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 50mm x 12mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 50mm x 12mm AL Busbar | Fabrication Hardware | Text: 50mm x 12mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 64mm x 6mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 64mm x 6mm AL Busbar | Fabrication Hardware | Text: 64mm x 6mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 64mm x 10mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 64mm x 10mm AL Busbar | Fabrication Hardware | Text: 64mm x 10mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 64mm x 12mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 64mm x 12mm AL Busbar | Fabrication Hardware | Text: 64mm x 12mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 75mm x 6mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 75mm x 6mm AL Busbar | Fabrication Hardware | Text: 75mm x 6mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 75mm x 10mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 75mm x 10mm AL Busbar | Fabrication Hardware | Text: 75mm x 10mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 75mm x 12mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 75mm x 12mm AL Busbar | Fabrication Hardware | Text: 75mm x 12mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 100mm x 12mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 100mm x 12mm AL Busbar | Fabrication Hardware | Text: 100mm x 12mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 100mm x 10mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 100mm x 10mm AL Busbar | Fabrication Hardware | Text: 100mm x 10mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 100mm x 6mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 100mm x 6mm AL Busbar | Fabrication Hardware | Text: 100mm x 6mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 125mm x 6mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 125mm x 6mm AL Busbar | Fabrication Hardware | Text: 125mm x 6mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 125mm x 10mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 125mm x 10mm AL Busbar | Fabrication Hardware | Text: 125mm x 10mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 125mm x 12mm AL Busbar | Standard Buying | 260 | Kg | 1 | 1 | 125mm x 12mm AL Busbar | Fabrication Hardware | Text: 125mm x 12mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 20mm x 3mm Cu. Strip | Standard Buying | 540 | Kg | 1 | 1 | 20mm x 3mm Cu. Strip | Fabrication Hardware | Text: 20mm x 3mm Cu. Strip; Check: 1; Check: 0; Link: INR; Int: 0
|  | 25mm x 3mm Cu. Strip | Standard Buying | 540 | Kg | 1 | 1 | 25mm x 3mm Cu. Strip | Fabrication Hardware | Text: 25mm x 3mm Cu. Strip; Check: 1; Check: 0; Link: INR; Int: 0
|  | 10 SWG Copper | Standard Buying | 540 | Kg | 1 | 1 | 10 SWG Copper | Fabrication Hardware | Text: 10 SWG Copper; Check: 1; Check: 0; Link: INR; Int: 0
|  | 8 SWG Copper | Standard Buying | 540 | Kg | 1 | 1 | 8 SWG Copper | Fabrication Hardware | Text: 8 SWG Copper; Check: 1; Check: 0; Link: INR; Int: 0
|  | 6 SWG Copper | Standard Buying | 540 | Kg | 1 | 1 | 6 SWG Copper | Fabrication Hardware | Text: 6 SWG Copper; Check: 1; Check: 0; Link: INR; Int: 0
|  | 14 SWG CRCA Sheet | Standard Buying | 69 | Kg | 1 | 1 | 14 SWG CRCA Sheet | Fabrication Hardware | Text: 14 SWG CRCA Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | 16 SWG CRCA Sheet | Standard Buying | 69 | Kg | 1 | 1 | 16 SWG CRCA Sheet | Fabrication Hardware | Text: 16 SWG CRCA Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | 18 SWG CRCA Sheet | Standard Buying | 69 | Kg | 1 | 1 | 18 SWG CRCA Sheet | Fabrication Hardware | Text: 18 SWG CRCA Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | 14 SWG Galvano Sheet | Standard Buying | 80 | Kg | 1 | 1 | 14 SWG Galvano Sheet | Fabrication Hardware | Text: 14 SWG Galvano Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | 16 SWG Galvano Sheet | Standard Buying | 80 | Kg | 1 | 1 | 16 SWG Galvano Sheet | Fabrication Hardware | Text: 16 SWG Galvano Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | 18 SWG Galvano Sheet | Standard Buying | 80 | Kg | 1 | 1 | 18 SWG Galvano Sheet | Fabrication Hardware | Text: 18 SWG Galvano Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | 2mm FRP Sheet | Standard Buying | 850 | Nos | 1 | 1 | 2mm FRP Sheet | Fabrication Hardware | Text: 2mm FRP Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | Welding Rod | Standard Buying | 1 | Nos | 1 | 1 | Welding Rod | Fabrication Hardware | Text: Welding Rod; Check: 1; Check: 0; Link: INR; Int: 0
|  | 4" Grinding Wheel | Standard Buying | 30 | Nos | 1 | 1 | 4" Grinding Wheel | Fabrication Hardware | Text: 4" Grinding Wheel; Check: 1; Check: 0; Link: INR; Int: 0
|  | Super Glue | Standard Buying | 50 | Nos | 1 | 1 | Super Glue | Fabrication Hardware | Text: Super Glue; Check: 1; Check: 0; Link: INR; Int: 0
|  | MS C Channel 75mm x 50mm | Standard Buying | 56 | Kg | 1 | 1 | MS C Channel 75mm x 50mm | Fabrication Hardware | Text: MS C Channel 75mm x 50mm; Check: 1; Check: 0; Link: INR; Int: 0
|  | Interlock -2 lock with one Key (A) | Standard Buying | 1150 | Nos | 1 | 1 | Interlock -2 lock with one Key (A) | Fabrication Hardware | Text: Interlock -2 lock with one Key (A); Check: 1; Check: 0; Link: INR; Int: 0
|  | Interlock -2 lock with one Key (K) | Standard Buying | 1150 | Nos | 1 | 1 | Interlock -2 lock with one Key (K) | Fabrication Hardware | Text: Interlock -2 lock with one Key (K); Check: 1; Check: 0; Link: INR; Int: 0
|  | 61mm Sleeve Red | Standard Buying | 9 | Meter | 1 | 1 | 61mm Sleeve Red | Fabrication Hardware | Text: 61mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 61mm Sleeve Blue | Standard Buying | 9 | Meter | 1 | 1 | 61mm Sleeve Blue | Fabrication Hardware | Text: 61mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 61mm Sleeve Black | Standard Buying | 9 | Meter | 1 | 1 | 61mm Sleeve Black | Fabrication Hardware | Text: 61mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 61mm Sleeve Yellow | Standard Buying | 9 | Meter | 1 | 1 | 61mm Sleeve Yellow | Fabrication Hardware | Text: 61mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 81mm Sleeve Red | Standard Buying | 12 | Meter | 1 | 1 | 81mm Sleeve Red | Fabrication Hardware | Text: 81mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 81mm Sleeve Yellow | Standard Buying | 12 | Meter | 1 | 1 | 81mm Sleeve Yellow | Fabrication Hardware | Text: 81mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 81mm Sleeve Black | Standard Buying | 12 | Meter | 1 | 1 | 81mm Sleeve Black | Fabrication Hardware | Text: 81mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 81mm Sleeve Blue | Standard Buying | 12 | Meter | 1 | 1 | 81mm Sleeve Blue | Fabrication Hardware | Text: 81mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 103mm Sleeve Black | Standard Buying | 16 | Meter | 1 | 1 | 103mm Sleeve Black | Fabrication Hardware | Text: 103mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 128mm Sleeve Black | Standard Buying | 19 | Meter | 1 | 1 | 128mm Sleeve Black | Fabrication Hardware | Text: 128mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 128mm Sleeve Red | Standard Buying | 19 | Meter | 1 | 1 | 128mm Sleeve Red | Fabrication Hardware | Text: 128mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 128mm Sleeve Blue | Standard Buying | 19 | Meter | 1 | 1 | 128mm Sleeve Blue | Fabrication Hardware | Text: 128mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 128mm Sleeve Yellow | Standard Buying | 19 | Meter | 1 | 1 | 128mm Sleeve Yellow | Fabrication Hardware | Text: 128mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 140mm Sleeve Red | Standard Buying | 21 | Meter | 1 | 1 | 140mm Sleeve Red | Fabrication Hardware | Text: 140mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 140mm Sleeve Blue | Standard Buying | 21 | Meter | 1 | 1 | 140mm Sleeve Blue | Fabrication Hardware | Text: 140mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 140mm Sleeve Yellow | Standard Buying | 21 | Meter | 1 | 1 | 140mm Sleeve Yellow | Fabrication Hardware | Text: 140mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 140mm Sleeve Black | Standard Buying | 21 | Meter | 1 | 1 | 140mm Sleeve Black | Fabrication Hardware | Text: 140mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 170mm Sleeve Black | Standard Buying | 27 | Meter | 1 | 1 | 170mm Sleeve Black | Fabrication Hardware | Text: 170mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 170mm Sleeve Blue | Standard Buying | 27 | Meter | 1 | 1 | 170mm Sleeve Blue | Fabrication Hardware | Text: 170mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 170mm Sleeve Red | Standard Buying | 27 | Meter | 1 | 1 | 170mm Sleeve Red | Fabrication Hardware | Text: 170mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 170mm Sleeve Yellow | Standard Buying | 27 | Meter | 1 | 1 | 170mm Sleeve Yellow | Fabrication Hardware | Text: 170mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 25mm x 6mm Cu Busbar | Standard Buying | 540 | Kg | 1 | 1 | 25mm x 6mm Cu Busbar | Fabrication Hardware | Text: 25mm x 6mm Cu Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 32mm x 6mm Cu Busbar | Standard Buying | 540 | Kg | 1 | 1 | 32mm x 6mm Cu Busbar | Fabrication Hardware | Text: 32mm x 6mm Cu Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | Siemens Spray Dot | Standard Buying | 226 | Nos | 1 | 1 | Siemens Spray Dot | Fabrication Hardware | Text: Siemens Spray Dot; Check: 1; Check: 0; Link: INR; Int: 0
|  | 38mm x 10mm CU Busbar | Standard Buying | 540 | Kg | 1 | 1 | 38mm x 10mm CU Busbar | Fabrication Hardware | Text: 38mm x 10mm CU Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 100A TPN Terminal Board DMC Electro Fibers | Standard Buying | 75 | Nos | 1 | 1 | 100A TPN Terminal Board DMC Electro Fibers | Fabrication Hardware | Text: 100A TPN Terminal Board DMC Electro Fibers; Check: 1; Check: 0; Link: INR; Int: 0
|  | 10 SWG Galvano Sheet | Standard Buying | 80 | Kg | 1 | 1 | 10 SWG Galvano Sheet | Fabrication Hardware | Text: 10 SWG Galvano Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | 16 SWG GI Sheet | Standard Buying | 80 | Kg | 1 | 1 | 16 SWG GI Sheet | Fabrication Hardware | Text: 16 SWG GI Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | 14 SWG GI Sheet | Standard Buying | 80 | Kg | 1 | 1 | 14 SWG GI Sheet | Fabrication Hardware | Text: 14 SWG GI Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | 18 SWG GI Sheet | Standard Buying | 80 | Kg | 1 | 1 | 18 SWG GI Sheet | Fabrication Hardware | Text: 18 SWG GI Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | Door Hinge Siemens Type | Standard Buying | 12.5 | Nos | 1 | 1 | Door Hinge Siemens Type | Fabrication Hardware | Text: Door Hinge Siemens Type; Check: 1; Check: 0; Link: INR; Int: 0
|  | 25mm x 10mm Cu Busbar | Standard Buying | 540 | Kg | 1 | 1 | 25mm x 10mm Cu Busbar | Fabrication Hardware | Text: 25mm x 10mm Cu Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | Seimens Grey Structure Powder Rapid Coat | Standard Buying | 222 | Kg | 1 | 1 | Seimens Grey Structure Powder Rapid Coat | Fabrication Hardware | Text: Seimens Grey Structure Powder Rapid Coat; Check: 1; Check: 0; Link: INR; Int: 0
|  | 1 KVAR Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | 1 KVAR Legend Plate | Fabrication Hardware | Text: 1 KVAR Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | 2 KVAR Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | 2 KVAR Legend Plate | Fabrication Hardware | Text: 2 KVAR Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | 3 KVAR Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | 3 KVAR Legend Plate | Fabrication Hardware | Text: 3 KVAR Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | 5 KVAR Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | 5 KVAR Legend Plate | Fabrication Hardware | Text: 5 KVAR Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | 10 KVAR Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | 10 KVAR Legend Plate | Fabrication Hardware | Text: 10 KVAR Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | 15 KVAR Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | 15 KVAR Legend Plate | Fabrication Hardware | Text: 15 KVAR Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | 20 KVAR Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | 20 KVAR Legend Plate | Fabrication Hardware | Text: 20 KVAR Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | 25 KVAR Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | 25 KVAR Legend Plate | Fabrication Hardware | Text: 25 KVAR Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | 30 KVAR Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | 30 KVAR Legend Plate | Fabrication Hardware | Text: 30 KVAR Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | 40 KVAR Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | 40 KVAR Legend Plate | Fabrication Hardware | Text: 40 KVAR Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | 50 KVAR Legend Plate | Standard Buying | 6.5 | Nos | 1 | 1 | 50 KVAR Legend Plate | Fabrication Hardware | Text: 50 KVAR Legend Plate; Check: 1; Check: 0; Link: INR; Int: 0
|  | 32mm x 10mm Cu Busbar | Standard Buying | 540 | Kg | 1 | 1 | 32mm x 10mm Cu Busbar | Fabrication Hardware | Text: 32mm x 10mm Cu Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 50mm x 10mm Cu Busbar | Standard Buying | 540 | Kg | 1 | 1 | 50mm x 10mm Cu Busbar | Fabrication Hardware | Text: 50mm x 10mm Cu Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 50mm x 6mm Cu Busbar | Standard Buying | 540 | Kg | 1 | 1 | 50mm x 6mm Cu Busbar | Fabrication Hardware | Text: 50mm x 6mm Cu Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 63mm x 10mm Cu Busbar | Standard Buying | 540 | Kg | 1 | 1 | 63mm x 10mm Cu Busbar | Fabrication Hardware | Text: 63mm x 10mm Cu Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 63mm x 6mm Cu Busbar | Standard Buying | 540 | Kg | 1 | 1 | 63mm x 6mm Cu Busbar | Fabrication Hardware | Text: 63mm x 6mm Cu Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 75mm x 10mm Cu Busbar | Standard Buying | 540 | Kg | 1 | 1 | 75mm x 10mm Cu Busbar | Fabrication Hardware | Text: 75mm x 10mm Cu Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 75mm x 6mm Cu Busbar | Standard Buying | 540 | Kg | 1 | 1 | 75mm x 6mm Cu Busbar | Fabrication Hardware | Text: 75mm x 6mm Cu Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | EFTPN-1x7/265 10D | Standard Buying | 104.4 | Nos | 1 | 1 | EFTPN-1x7/265 10D | Fabrication Hardware | Text: EFTPN-1x7/265 10D; Check: 1; Check: 0; Link: INR; Int: 0
|  | EFTPN-1x11/265 10D | Standard Buying | 104.4 | Nos | 1 | 1 | EFTPN-1x11/265 10D | Fabrication Hardware | Text: EFTPN-1x11/265 10D; Check: 1; Check: 0; Link: INR; Int: 0
|  | EFTPN-1x14/300 10D | Standard Buying | 115.2 | Nos | 1 | 1 | EFTPN-1x14/300 10D | Fabrication Hardware | Text: EFTPN-1x14/300 10D; Check: 1; Check: 0; Link: INR; Int: 0
|  | EFTPN-1x11/300 10D | Standard Buying | 115.2 | Nos | 1 | 1 | EFTPN-1x11/300 10D | Fabrication Hardware | Text: EFTPN-1x11/300 10D; Check: 1; Check: 0; Link: INR; Int: 0
|  | EFTPN-1x14x300 15D | Standard Buying | 115.2 | Nos | 1 | 1 | EFTPN-1x14x300 15D | Fabrication Hardware | Text: EFTPN-1x14x300 15D; Check: 1; Check: 0; Link: INR; Int: 0
|  | EFTPN-1x11x350A 15D | Standard Buying | 140.4 | Nos | 1 | 1 | EFTPN-1x11x350A 15D | Fabrication Hardware | Text: EFTPN-1x11x350A 15D; Check: 1; Check: 0; Link: INR; Int: 0
|  | EFTPN-1x14x495 15D | Standard Buying | 78 | Nos | 1 | 1 | EFTPN-1x14x495 15D | Fabrication Hardware | Text: EFTPN-1x14x495 15D; Check: 1; Check: 0; Link: INR; Int: 0
|  | EFTPN 2x11/550HD(2N) | Standard Buying | 468 | Nos | 1 | 1 | EFTPN 2x11/550HD(2N) | Fabrication Hardware | Text: EFTPN 2x11/550HD(2N); Check: 1; Check: 0; Link: INR; Int: 0
|  | 1.5 sqmm Copper Flexible Wire Green | Standard Buying | 11 | Meter | 1 | 1 | 1.5 sqmm Copper Flexible Wire Green | Wires and Accessories | Text: 1.5 sqmm Copper Flexible Wire Green; Check: 1; Check: 0; Link: INR; Int: 0
|  | Door Gasket | Standard Buying | 0.01278 | Millimeter | 1 | 1 | Door Gasket | Fabrication Hardware | Text: Door Gasket; Check: 1; Check: 0; Link: INR; Int: 0
|  | 15mm Form Beeding | Standard Buying | 0.005 | Millimeter | 1 | 1 | 15mm Form Beeding | Fabrication Hardware | Text: 15mm Form Beeding; Check: 1; Check: 0; Link: INR; Int: 0
|  | 25mm Form Beeding | Standard Buying | 0.007 | Millimeter | 1 | 1 | 25mm Form Beeding | Fabrication Hardware | Text: 25mm Form Beeding; Check: 1; Check: 0; Link: INR; Int: 0
|  | 103mm Sleeve Red | Standard Buying | 0.016 | Millimeter | 1 | 1 | 103mm Sleeve Red | Fabrication Hardware | Text: 103mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 103mm Sleeve Yellow | Standard Buying | 0.016 | Millimeter | 1 | 1 | 103mm Sleeve Yellow | Fabrication Hardware | Text: 103mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 103mm Sleeve Blue | Standard Buying | 0.016 | Millimeter | 1 | 1 | 103mm Sleeve Blue | Fabrication Hardware | Text: 103mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 93mm Sleeve Red | Standard Buying | 0.014 | Millimeter | 1 | 1 | 93mm Sleeve Red | Fabrication Hardware | Text: 93mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 93mm Sleeve Yellow | Standard Buying | 0.014 | Millimeter | 1 | 1 | 93mm Sleeve Yellow | Fabrication Hardware | Text: 93mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 93mm Sleeve Blue | Standard Buying | 0.014 | Millimeter | 1 | 1 | 93mm Sleeve Blue | Fabrication Hardware | Text: 93mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 93mm Sleeve Black | Standard Buying | 0.014 | Millimeter | 1 | 1 | 93mm Sleeve Black | Fabrication Hardware | Text: 93mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 73mm Sleeve Red | Standard Buying | 0.011 | Millimeter | 1 | 1 | 73mm Sleeve Red | Fabrication Hardware | Text: 73mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 73mm Sleeve Yellow | Standard Buying | 0.011 | Millimeter | 1 | 1 | 73mm Sleeve Yellow | Fabrication Hardware | Text: 73mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 73mm Sleeve Blue | Standard Buying | 0.011 | Millimeter | 1 | 1 | 73mm Sleeve Blue | Fabrication Hardware | Text: 73mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 55mm Sleeve Red | Standard Buying | 0.008 | Millimeter | 1 | 1 | 55mm Sleeve Red | Fabrication Hardware | Text: 55mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 55mm Sleeve Yellow | Standard Buying | 0.008 | Millimeter | 1 | 1 | 55mm Sleeve Yellow | Fabrication Hardware | Text: 55mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 55mm Sleeve Blue | Standard Buying | 0.008 | Millimeter | 1 | 1 | 55mm Sleeve Blue | Fabrication Hardware | Text: 55mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 55mm Sleeve Black | Standard Buying | 0.008 | Millimeter | 1 | 1 | 55mm Sleeve Black | Fabrication Hardware | Text: 55mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 41mm Sleeve Red | Standard Buying | 0.005 | Millimeter | 1 | 1 | 41mm Sleeve Red | Fabrication Hardware | Text: 41mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 41mm Sleeve Yellow | Standard Buying | 0.005 | Millimeter | 1 | 1 | 41mm Sleeve Yellow | Fabrication Hardware | Text: 41mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 41mm Sleeve Blue | Standard Buying | 0.005 | Millimeter | 1 | 1 | 41mm Sleeve Blue | Fabrication Hardware | Text: 41mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 41mm Sleeve Black | Standard Buying | 0.005 | Millimeter | 1 | 1 | 41mm Sleeve Black | Fabrication Hardware | Text: 41mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 4mm Sleeve Red | Standard Buying | 0.0015 | Millimeter | 1 | 1 | 4mm Sleeve Red | Fabrication Hardware | Text: 4mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 4mm Sleeve Yellow | Standard Buying | 0.0015 | Millimeter | 1 | 1 | 4mm Sleeve Yellow | Fabrication Hardware | Text: 4mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 4mm Sleeve Blue | Standard Buying | 0.0015 | Millimeter | 1 | 1 | 4mm Sleeve Blue | Fabrication Hardware | Text: 4mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 4mm Sleeve Black | Standard Buying | 0.0015 | Millimeter | 1 | 1 | 4mm Sleeve Black | Fabrication Hardware | Text: 4mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 6mm Sleeve Red | Standard Buying | 0.0015 | Millimeter | 1 | 1 | 6mm Sleeve Red | Fabrication Hardware | Text: 6mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 6mm Sleeve Yellow | Standard Buying | 0.0015 | Millimeter | 1 | 1 | 6mm Sleeve Yellow | Fabrication Hardware | Text: 6mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 6mm Sleeve Blue | Standard Buying | 0.0015 | Millimeter | 1 | 1 | 6mm Sleeve Blue | Fabrication Hardware | Text: 6mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 6mm Sleeve Black | Standard Buying | 0.0015 | Millimeter | 1 | 1 | 6mm Sleeve Black | Fabrication Hardware | Text: 6mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 10mm Sleeve Red | Standard Buying | 0.0025 | Millimeter | 1 | 1 | 10mm Sleeve Red | Fabrication Hardware | Text: 10mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 10mm Sleeve Yellow | Standard Buying | 0.0025 | Millimeter | 1 | 1 | 10mm Sleeve Yellow | Fabrication Hardware | Text: 10mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 10mm Sleeve Blue | Standard Buying | 0.0025 | Millimeter | 1 | 1 | 10mm Sleeve Blue | Fabrication Hardware | Text: 10mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 10mm Sleeve Black | Standard Buying | 0.0025 | Millimeter | 1 | 1 | 10mm Sleeve Black | Fabrication Hardware | Text: 10mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 10mm Spiral | Standard Buying | 0.006 | Millimeter | 1 | 1 | 10mm Spiral | Fabrication Hardware | Text: 10mm Spiral; Check: 1; Check: 0; Link: INR; Int: 0
|  | 20mm Spiral | Standard Buying | 0.01 | Millimeter | 1 | 1 | 20mm Spiral | Fabrication Hardware | Text: 20mm Spiral; Check: 1; Check: 0; Link: INR; Int: 0
|  | 6mm Spiral | Standard Buying | 0.003 | Millimeter | 1 | 1 | 6mm Spiral | Fabrication Hardware | Text: 6mm Spiral; Check: 1; Check: 0; Link: INR; Int: 0
|  | 25mm x 6mm AL Busbar | Standard Buying | 0.1066 | Millimeter | 1 | 1 | 25mm x 6mm AL Busbar | Fabrication Hardware | Text: 25mm x 6mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 25mm x 10mm AL Busbar | Standard Buying | 0.1768 | Millimeter | 1 | 1 | 25mm x 10mm AL Busbar | Fabrication Hardware | Text: 25mm x 10mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 32mm x 6mm AL Busbar | Standard Buying | 0.1352 | Millimeter | 1 | 1 | 32mm x 6mm AL Busbar | Fabrication Hardware | Text: 32mm x 6mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 32mm x 10mm AL Busbar | Standard Buying | 0.2236 | Millimeter | 1 | 1 | 32mm x 10mm AL Busbar | Fabrication Hardware | Text: 32mm x 10mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 38mm x 6mm AL Busbar | Standard Buying | 0.1612 | Millimeter | 1 | 1 | 38mm x 6mm AL Busbar | Fabrication Hardware | Text: 38mm x 6mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 38mm x 10mm AL Busbar | Standard Buying | 0.2678 | Millimeter | 1 | 1 | 38mm x 10mm AL Busbar | Fabrication Hardware | Text: 38mm x 10mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 38mm x 12mm AL Busbar | Standard Buying | 0.3198 | Millimeter | 1 | 1 | 38mm x 12mm AL Busbar | Fabrication Hardware | Text: 38mm x 12mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 50mm x 6mm AL Busbar | Standard Buying | 0.2106 | Millimeter | 1 | 1 | 50mm x 6mm AL Busbar | Fabrication Hardware | Text: 50mm x 6mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 50mm x 10mm AL Busbar | Standard Buying | 0.351 | Millimeter | 1 | 1 | 50mm x 10mm AL Busbar | Fabrication Hardware | Text: 50mm x 10mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 50mm x 12mm AL Busbar | Standard Buying | 0.4212 | Millimeter | 1 | 1 | 50mm x 12mm AL Busbar | Fabrication Hardware | Text: 50mm x 12mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 64mm x 6mm AL Busbar | Standard Buying | 0.2704 | Millimeter | 1 | 1 | 64mm x 6mm AL Busbar | Fabrication Hardware | Text: 64mm x 6mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 64mm x 10mm AL Busbar | Standard Buying | 0.4498 | Millimeter | 1 | 1 | 64mm x 10mm AL Busbar | Fabrication Hardware | Text: 64mm x 10mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 64mm x 12mm AL Busbar | Standard Buying | 0.5382 | Millimeter | 1 | 1 | 64mm x 12mm AL Busbar | Fabrication Hardware | Text: 64mm x 12mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 75mm x 6mm AL Busbar | Standard Buying | 0.3172 | Millimeter | 1 | 1 | 75mm x 6mm AL Busbar | Fabrication Hardware | Text: 75mm x 6mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 75mm x 10mm AL Busbar | Standard Buying | 0.5278 | Millimeter | 1 | 1 | 75mm x 10mm AL Busbar | Fabrication Hardware | Text: 75mm x 10mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 75mm x 12mm AL Busbar | Standard Buying | 0.6318 | Millimeter | 1 | 1 | 75mm x 12mm AL Busbar | Fabrication Hardware | Text: 75mm x 12mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 100mm x 12mm AL Busbar | Standard Buying | 0.8424 | Millimeter | 1 | 1 | 100mm x 12mm AL Busbar | Fabrication Hardware | Text: 100mm x 12mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 100mm x 10mm AL Busbar | Standard Buying | 0.7046 | Millimeter | 1 | 1 | 100mm x 10mm AL Busbar | Fabrication Hardware | Text: 100mm x 10mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 100mm x 6mm AL Busbar | Standard Buying | 0.4212 | Millimeter | 1 | 1 | 100mm x 6mm AL Busbar | Fabrication Hardware | Text: 100mm x 6mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 125mm x 6mm AL Busbar | Standard Buying | 0.5278 | Millimeter | 1 | 1 | 125mm x 6mm AL Busbar | Fabrication Hardware | Text: 125mm x 6mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 125mm x 10mm AL Busbar | Standard Buying | 0.8788 | Millimeter | 1 | 1 | 125mm x 10mm AL Busbar | Fabrication Hardware | Text: 125mm x 10mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 125mm x 12mm AL Busbar | Standard Buying | 1.053 | Millimeter | 1 | 1 | 125mm x 12mm AL Busbar | Fabrication Hardware | Text: 125mm x 12mm AL Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 20mm x 3mm Cu. Strip | Standard Buying | 0.2916 | Millimeter | 1 | 1 | 20mm x 3mm Cu. Strip | Fabrication Hardware | Text: 20mm x 3mm Cu. Strip; Check: 1; Check: 0; Link: INR; Int: 0
|  | 25mm x 3mm Cu. Strip | Standard Buying | 0.3618 | Millimeter | 1 | 1 | 25mm x 3mm Cu. Strip | Fabrication Hardware | Text: 25mm x 3mm Cu. Strip; Check: 1; Check: 0; Link: INR; Int: 0
|  | 10 SWG Copper | Standard Buying | 0.0432 | Millimeter | 1 | 1 | 10 SWG Copper | Fabrication Hardware | Text: 10 SWG Copper; Check: 1; Check: 0; Link: INR; Int: 0
|  | 8 SWG Copper | Standard Buying | 0.0648 | Millimeter | 1 | 1 | 8 SWG Copper | Fabrication Hardware | Text: 8 SWG Copper; Check: 1; Check: 0; Link: INR; Int: 0
|  | 6 SWG Copper | Standard Buying | 0.0918 | Millimeter | 1 | 1 | 6 SWG Copper | Fabrication Hardware | Text: 6 SWG Copper; Check: 1; Check: 0; Link: INR; Int: 0
|  | 14 SWG CRCA Sheet | Standard Buying | 0.0019177 | Square Millimeter | 1 | 1 | 14 SWG CRCA Sheet | Fabrication Hardware | Text: 14 SWG CRCA Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | 16 SWG CRCA Sheet | Standard Buying | 0.0015583 | Square Millimeter | 1 | 1 | 16 SWG CRCA Sheet | Fabrication Hardware | Text: 16 SWG CRCA Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | 18 SWG CRCA Sheet | Standard Buying | 0.0013188 | Square Millimeter | 1 | 1 | 18 SWG CRCA Sheet | Fabrication Hardware | Text: 18 SWG CRCA Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | 14 SWG Galvano Sheet | Standard Buying | 0.0021278 | Square Millimeter | 1 | 1 | 14 SWG Galvano Sheet | Fabrication Hardware | Text: 14 SWG Galvano Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | 16 SWG Galvano Sheet | Standard Buying | 0.0016556 | Square Millimeter | 1 | 1 | 16 SWG Galvano Sheet | Fabrication Hardware | Text: 16 SWG Galvano Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | 18 SWG Galvano Sheet | Standard Buying | 0.0014333 | Square Millimeter | 1 | 1 | 18 SWG Galvano Sheet | Fabrication Hardware | Text: 18 SWG Galvano Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | 2mm FRP Sheet | Standard Buying | 0.00076244 | Square Millimeter | 1 | 1 | 2mm FRP Sheet | Fabrication Hardware | Text: 2mm FRP Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | MS C Channel 75mm x 50mm | Standard Buying | 0.32592 | Millimeter | 1 | 1 | MS C Channel 75mm x 50mm | Fabrication Hardware | Text: MS C Channel 75mm x 50mm; Check: 1; Check: 0; Link: INR; Int: 0
|  | 61mm Sleeve Red | Standard Buying | 0.009 | Millimeter | 1 | 1 | 61mm Sleeve Red | Fabrication Hardware | Text: 61mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 61mm Sleeve Blue | Standard Buying | 0.009 | Millimeter | 1 | 1 | 61mm Sleeve Blue | Fabrication Hardware | Text: 61mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 61mm Sleeve Black | Standard Buying | 0.009 | Millimeter | 1 | 1 | 61mm Sleeve Black | Fabrication Hardware | Text: 61mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 61mm Sleeve Yellow | Standard Buying | 0.009 | Millimeter | 1 | 1 | 61mm Sleeve Yellow | Fabrication Hardware | Text: 61mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 81mm Sleeve Red | Standard Buying | 0.012 | Millimeter | 1 | 1 | 81mm Sleeve Red | Fabrication Hardware | Text: 81mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 81mm Sleeve Yellow | Standard Buying | 0.012 | Millimeter | 1 | 1 | 81mm Sleeve Yellow | Fabrication Hardware | Text: 81mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 81mm Sleeve Black | Standard Buying | 0.012 | Millimeter | 1 | 1 | 81mm Sleeve Black | Fabrication Hardware | Text: 81mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 81mm Sleeve Blue | Standard Buying | 0.012 | Millimeter | 1 | 1 | 81mm Sleeve Blue | Fabrication Hardware | Text: 81mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 103mm Sleeve Black | Standard Buying | 0.016 | Millimeter | 1 | 1 | 103mm Sleeve Black | Fabrication Hardware | Text: 103mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 128mm Sleeve Black | Standard Buying | 0.019 | Millimeter | 1 | 1 | 128mm Sleeve Black | Fabrication Hardware | Text: 128mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 128mm Sleeve Red | Standard Buying | 0.019 | Millimeter | 1 | 1 | 128mm Sleeve Red | Fabrication Hardware | Text: 128mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 128mm Sleeve Blue | Standard Buying | 0.019 | Millimeter | 1 | 1 | 128mm Sleeve Blue | Fabrication Hardware | Text: 128mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 128mm Sleeve Yellow | Standard Buying | 0.019 | Millimeter | 1 | 1 | 128mm Sleeve Yellow | Fabrication Hardware | Text: 128mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 140mm Sleeve Red | Standard Buying | 0.021 | Millimeter | 1 | 1 | 140mm Sleeve Red | Fabrication Hardware | Text: 140mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 140mm Sleeve Blue | Standard Buying | 0.021 | Millimeter | 1 | 1 | 140mm Sleeve Blue | Fabrication Hardware | Text: 140mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 140mm Sleeve Yellow | Standard Buying | 0.021 | Millimeter | 1 | 1 | 140mm Sleeve Yellow | Fabrication Hardware | Text: 140mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 140mm Sleeve Black | Standard Buying | 0.021 | Millimeter | 1 | 1 | 140mm Sleeve Black | Fabrication Hardware | Text: 140mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 170mm Sleeve Black | Standard Buying | 0.027 | Millimeter | 1 | 1 | 170mm Sleeve Black | Fabrication Hardware | Text: 170mm Sleeve Black; Check: 1; Check: 0; Link: INR; Int: 0
|  | 170mm Sleeve Blue | Standard Buying | 0.027 | Millimeter | 1 | 1 | 170mm Sleeve Blue | Fabrication Hardware | Text: 170mm Sleeve Blue; Check: 1; Check: 0; Link: INR; Int: 0
|  | 170mm Sleeve Red | Standard Buying | 0.027 | Millimeter | 1 | 1 | 170mm Sleeve Red | Fabrication Hardware | Text: 170mm Sleeve Red; Check: 1; Check: 0; Link: INR; Int: 0
|  | 170mm Sleeve Yellow | Standard Buying | 0.027 | Millimeter | 1 | 1 | 170mm Sleeve Yellow | Fabrication Hardware | Text: 170mm Sleeve Yellow; Check: 1; Check: 0; Link: INR; Int: 0
|  | 25mm x 6mm Cu Busbar | Standard Buying | 0.729 | Millimeter | 1 | 1 | 25mm x 6mm Cu Busbar | Fabrication Hardware | Text: 25mm x 6mm Cu Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 32mm x 6mm Cu Busbar | Standard Buying | 0.9342 | Millimeter | 1 | 1 | 32mm x 6mm Cu Busbar | Fabrication Hardware | Text: 32mm x 6mm Cu Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 38mm x 10mm CU Busbar | Standard Buying | 1.8846 | Millimeter | 1 | 1 | 38mm x 10mm CU Busbar | Fabrication Hardware | Text: 38mm x 10mm CU Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 10 SWG Galvano Sheet | Standard Buying | 0.0012944 | Square Millimeter | 1 | 1 | 10 SWG Galvano Sheet | Fabrication Hardware | Text: 10 SWG Galvano Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | 16 SWG GI Sheet | Standard Buying | 0.0016556 | Square Millimeter | 1 | 1 | 16 SWG GI Sheet | Fabrication Hardware | Text: 16 SWG GI Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | 14 SWG GI Sheet | Standard Buying | 0.0019889 | Square Millimeter | 1 | 1 | 14 SWG GI Sheet | Fabrication Hardware | Text: 14 SWG GI Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | 18 SWG GI Sheet | Standard Buying | 0.0013778 | Square Millimeter | 1 | 1 | 18 SWG GI Sheet | Fabrication Hardware | Text: 18 SWG GI Sheet; Check: 1; Check: 0; Link: INR; Int: 0
|  | 25mm x 10mm Cu Busbar | Standard Buying | 1.2096 | Millimeter | 1 | 1 | 25mm x 10mm Cu Busbar | Fabrication Hardware | Text: 25mm x 10mm Cu Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 32mm x 10mm Cu Busbar | Standard Buying | 1.5498 | Millimeter | 1 | 1 | 32mm x 10mm Cu Busbar | Fabrication Hardware | Text: 32mm x 10mm Cu Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 50mm x 10mm Cu Busbar | Standard Buying | 2.4192 | Millimeter | 1 | 1 | 50mm x 10mm Cu Busbar | Fabrication Hardware | Text: 50mm x 10mm Cu Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 50mm x 6mm Cu Busbar | Standard Buying | 1.4472 | Millimeter | 1 | 1 | 50mm x 6mm Cu Busbar | Fabrication Hardware | Text: 50mm x 6mm Cu Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 63mm x 10mm Cu Busbar | Standard Buying | 3.051 | Millimeter | 1 | 1 | 63mm x 10mm Cu Busbar | Fabrication Hardware | Text: 63mm x 10mm Cu Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 63mm x 6mm Cu Busbar | Standard Buying | 1.8306 | Millimeter | 1 | 1 | 63mm x 6mm Cu Busbar | Fabrication Hardware | Text: 63mm x 6mm Cu Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 75mm x 10mm Cu Busbar | Standard Buying | 3.6342 | Millimeter | 1 | 1 | 75mm x 10mm Cu Busbar | Fabrication Hardware | Text: 75mm x 10mm Cu Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 75mm x 6mm Cu Busbar | Standard Buying | 2.1816 | Millimeter | 1 | 1 | 75mm x 6mm Cu Busbar | Fabrication Hardware | Text: 75mm x 6mm Cu Busbar; Check: 1; Check: 0; Link: INR; Int: 0
|  | 1.5 sqmm Copper Flexible Wire Green | Standard Buying | 0.011 | Millimeter | 1 | 1 | 1.5 sqmm Copper Flexible Wire Green | Wires and Accessories | Text: 1.5 sqmm Copper Flexible Wire Green; Check: 1; Check: 0; Link: INR; Int: 0